## Slide 1: Introduction to 40Ar/39Ar geochronology and thermochronology
Dr Clare Warren
Helsinki,
24th October 2017

## Slide 2: Learning Outcomes
You will have an understanding of:
  K-Ar decay
  The difference between K-Ar and 40Ar/39Ar
  The age equation
  How data are collected
  Sources of error
You will be able to:
  Manipulate the age equation
  Calculate K-Ar ages
  Calculate J values
  Calculate 40Ar/39Ar ages
  Plot 40Ar/39Ar data

## Slide 3: Isotopes of natural Argon
36Ar = 0.3364 ± 0.0006 %
38Ar = 0.0632 ± 0.0001 %
40Ar = 99.600 %
Atmosphere is ~1% Ar
Atmospheric 40Ar/36Ar ratio is ~298.56 ± 0.31
Lee et al., 2006

## Slide 4: Isotopes of natural Potassium
  39K (stable; 93.2581%)
  40K (radioactive; 0.0117%)
  41K (stable; 6.7302%)

## Slide 5: The Decay
40K half life 1.248 x 109 a
  40Ca (β decay, 89.5%)
  40Ar (electron capture, 10.5%)
Beta Decay
electron
I’m a changed man!
Image: Khan academy

## Slide 6
Only ~0.011% of K consists of 40K, and
only ~10% of 40K decays to 40Ar
BUT
K is a major element in numerous rock-forming minerals
So there is plenty 40Ar to measure

## Slide 7: Radiogenic 40Ar (40Ar*)
The amount of 40Ar is proportional to:
The K concentration
Time (Age)
Also have 40Ar in atmosphere
  Correct using 36Ar
  Atmospheric 40Ar/36Ar = 298.36 ± 0.31
              (Lee et al., 2006)
40Ar* = 40Artotal - 40Aratm - 40Arinitial

## Slide 8: Radiogenic 40Ar
The amount of 40Ar is proportional to:
The K concentration
Time (Age)
40Ar* = 0.1048 40K (eλt -1)
Branching ratio as 40K decays to 40Ca (89.5%)
and 40Ar (10.5%)
λ=5.543 x 10-10 a-1
* = radiogenic
t = time

## Slide 9: So let’s rearrange for t
40Ar* = 0.1048 40K (eλt -1)

## Slide 10: Let’s rearrange for t
40Ar* = 0.1048 40K (eλt -1)
t = ln [ (40Ar/0.1048 40K) +1 ]
λ
the unknowns are 40K and 40Ar
What is 1/λ in Ma?
λ=5.543 x 10-10 a-1

## Slide 11: Let’s rearrange for t
40Ar* = 0.1048 40K (eλt -1)
t = ln [ (40Ar/0.1048 40K) +1 ]
λ
the unknowns are 40K and 40Ar
What is 1/λ in Ma?
  1804.077

## Slide 12: Requirements for a K-Ar age
Constant decay constants
Sample 40Ar is either all radiogenic OR non-radiogenic 40Ar can be corrected
Closed system
Image: YouTube.com

## Slide 13: So let’s calculate!
McDougall 1964
Image: state-maps.org
t = 1804.077 ln [ (40Ar/0.1048 40K) +1 ]

## Slide 14: What is the age range for each island?
Island | 40Ar/40K max | 40Ar/40K min | Age in Ma?
Kauai | 3.34 x 10-4 | 2.22 x 10-4 | 
W Oahu | 2.14 x 10-4 | 1.60 x 10-4 | 
East Oahu | 1.50 x 10-4 | 1.30 x 10-4 | 
W Molokai | 1.08 x 10-4 | -- | 
E Molokai | 8.81 x 10-5 | 7.74 x 10-5 | 
W Maui | 7.68 x 10-5 | 6.77 x 10-5 | 
E Maui | 4.86 x 10-5 | -- | 
t = 1804.077 ln [ (40Ar/0.1048 40K) +1 ]

## Slide 15: What have you found?
Image: state-maps.org

## Slide 16: What have you found?
Image: state-maps.org
5.74-3.82 Ma
3.68-2.75 Ma
2.58-2.24Ma
1.52-1.33 Ma
1.86 Ma
0.8 Ma
1.32-1.17Ma
Present-day
eruptions
McDougall 1964
Implications?

## Slide 17: K-Ar vs Ar/Ar
Image: Wikipedia
Image: istockphoto.com

## Slide 18: Irradiation
Image from The Simpsons
39K39Ar
by neutron bombardment
93.26% of all K is 39K
We can then just measure 40Ar and 39Ar instead of 40Ar and 40K

## Slide 19: Relationship between 39Ar  40K?
Every 39Ar forms from a 39K
  39K (stable; 93.2581%)
  40K (radioactive; 0.0117%)
For every 39K atoms how many 40K?

## Slide 20: Relationship between 39Ar  40K?
Every 39Ar forms from a 39K
  39K (stable; 93.2581%)
  40K (radioactive; 0.0117%)
For every 39K atoms, how many 40K?
  0.0001255

## Slide 21: Other irradiation products
Image from: http://studylib.net/doc/18050406/ar-ar-geo--thermochronology

## Slide 22: 40K  39Ar ?
t = ln [ (40Ar/0.1048 40K) +1 ]
λ
t = ln [ J (40Ar*/39Ar) +1 ]
λ
J includes: abundances of K isotopes
branching ratio
irradiation dose

## Slide 23: Standard of known age
Image: Pitt.edu
Biotite: GA 1550; ~79 Ma
Fish Canyon Sanidine, ~28 Ma
Hornblende Hb3gr; ~1074 Ma
These are irradiated with the samples of unknown age
Image: e-rocks.com

## Slide 24: Irradiation factor (J values)
J = e
(t/1804.077)
-1
R
Where R (ratio) = 40Ar(atm corr)
39Ar
And t = age of standard (Ma)

## Slide 25: How do we date a rock or mineral?
Pick rock fragments or minerals
Load with standards
Irradiate
Load into mass spec
Heat/melt/ablate
Measure 36Ar, 37Ar, 38Ar, 39Ar, 40Ar
Calculate J value for each sample
Calculate sample age
Image: ScienceDaily.com

## Slide 26: Collecting data
Step Heating
Single Grain Fusion
Laser Ablation
Crushing
Image: Open.ac.uk

## Slide 27: Basically
Thermal or mechanical release of Ar from sample
Cleaning gas to remove interferences
Measurement
Image: Open.ac.uk

## Slide 28: Dating – step heating
Images: Catherine Mottram; Kellett et al., 2009
Multi-grain;
Single grain

## Slide 29: Plotting data: Step Heating
Image: Kellett et al., 2009
Age calculate for each temperature step
Plateau: Fleck et al (1977): 3 or more contiguous steps; > 50% released 39ArK + overlapping at 2σ
Fit calculated by MSWD

## Slide 30: Plotting data: Inverse Isochrons
Image: https://geoinfo.nmt.edu/labs/argon/data/home.html
Assess Ar isotopic composition at each T step
Trapped 36Ar/40Ar value at y intercept
39Ar/40Ar on x intercept

## Slide 31
Kuiper, 2002

## Slide 32
Kuiper, 2002

## Slide 33: Dating – single grain fusion
Images: Catherine Mottram; Bertram Uunk
Single grain

## Slide 34: Plotting data: single grain fusions
Image: McDonald et al., 2016

## Slide 35: Dating – laser ablation
Image: Chris McDonald; McDonald et al., 2016
Laser probe
Single spot
15 μm diameter spots

## Slide 36: Minerals commonly dated with 40Ar/39Ar
Formula | Mineral
KAl3Si3O10(OH)2 | 
K(Mg,Fe)3AlSi3O10(F,OH)2 | 
(K,Na)0-1(Ca,Na,Fe,Mg)2(Mg,Fe,Al)5(Al,Si)8O22(OH)2 | 
KAlSi3O8 | 
(K,Na)AlSi3O8- CaAl2Si2O8 | 
(K,H3O)(Al,Mg,Fe)2(Si,Al)4O10[(OH)2,(H2O)] | 

## Slide 37: Minerals commonly dated with 40Ar/39Ar
Formula | Mineral
KAl3Si3O10(OH)2 | Muscovite
K(Mg,Fe)3AlSi3O10(F,OH)2 | Biotite
(K,Na)0-1(Ca,Na,Fe,Mg)2(Mg,Fe,Al)5(Al,Si)8O22(OH)2 | Hornblende
KAlSi3O8 | K-feldspar
(K,Na)AlSi3O8- CaAl2Si2O8 | Plagioclase
(K,H3O)(Al,Mg,Fe)2(Si,Al)4O10[(OH)2,(H2O)] | Illite

## Slide 38
Basalt
Tuff
Rhyolite
Meteorites
Minerals commonly dated with 40Ar/39Ar
Can date whole rocks as young as 1000 yrs (but difficult!)

## Slide 39: “Types” of Argon
Atmospheric argon (Aratm): 40Ar/36Ar = 298.56
Radiogenic 40Ar (40Ar*): from natural 40K decay
Inherited/excess Ar (mixture of Aratm and 40Ar*)
Irradiation-induced argon (from neutron bombardment of K, Ca, Cl

## Slide 40: Calculating the 40Ar/39Ar ratio
40Ar needs correcting for instrument background (blank)
And for atmospheric 40Ar:
  40Ar* = 40Armeas – (298.56 x 36Ar)
39Ar needs correcting for 39Ar produced in the reactor from Ca (minor correction, ignored here)

## Slide 41: Time to calculate some J values
J = exp
(λt)
-1
R
Standard | t (Ma) | Ref | R | J?
GA 1550 | 99.738 | Renne et al 2011 | 0.9361 | 
GA 1550 | 99.738 | Renne et al 2011 | 0.6752 | 
FCT | 29.305 | Renne et al 2010 | 1.112 | 
R = 40Ar*/39Ar

## Slide 42: Time to calculate some J values
J = exp
(λt)
-1
R
Standard | t (Ma) | Ref | R | J?
GA 1550 | 97.938 | Renne et al 2011 | 0.9361 | 0.06072
GA 1550 | 97.938 | Renne et al 2011 | 0.6752 | 0.08418
FCT | 29.305 | Renne et al 2010 | 1.112 | 0.01472
R = 40Ar*/39Ar

## Slide 43: Let’s calculate some ages
Correct 40Ar, 39Ar and 36Ar for background
Correct 40Ar for atmosphere (278.56)
Calculate 40Ar*/39Ar
Calculate age
t (Ma) = 1804.077 ln (1 + JR)
Where J = J value
R = 40Ar*/39Ar

## Slide 44
Grain | 40Ar | 39Ar | 36Ar
1 | 2.80241 | 0.10112 | 0.000069
2 | 1.64699 | 0.05999 | 0.000029
3 | 4.63017 | 0.17070 | 0.000009
4 | 1.16425 | 0.04235 | 0.000049
5 | 2.54924 | 0.09347 | 0.000019
6 | 1.29521 | 0.04536 | 0.000039
7 | 2.31139 | 0.08456 | 0.000049
8 | 5.03872 | 0.18459 | 0.000059
9 | 2.32016 | 0.08485 | 0.000059
10 | 7.54618 | 0.28182 | 0.000039
Blank | 0.002958 | 0.000015 | 0.000012
J = 0.008733

## Slide 45
Grain | Age (Ma)
1 | 388.6
2 | 386.1
3 | 383.3
4 | 384.1
5 | 384.8
6 | 398.7
7 | 384.2
8 | 384.6
9 | 383.8
10 | 378.6

## Slide 46: Plot the results…
As a plot of increasing age (y) vs sample (add error bars; errors given in spreadsheet)
As an inverse isochron plot (36/40 on y vs 39/40 on x), with the max on y being the 36/40 air ratio.

## Slide 47
Chart: Sample
 | 378.6057 | 383.3397 | 383.8482 | 384.0675 | 384.1611 | 384.5863 | 384.7917 | 386.092 | 388.5597 | 398.6711
Chart: 39Ar/40Ar
| 0.0373590803214261 | 0.0368873474999495 | 0.036609627206276 | 0.0364587444594233 | 0.0366232709361086 | 0.0366520124448626 | 0.0367023094860593 | 0.0364818873563408 | 0.0361160687975777 | 0.0350919691489804
 | 3.6059e-06 | 0 | 2.0322e-05 | 3.1939e-05 | 1.6068e-05 | 9.3513e-06 | 2.7848e-06 | 1.0396e-05 | 2.0394e-05 | 2.0964e-05
Generally a coherent population with 2 outliers
Most Ar is radiogenic – little atmospheric contamination

## Slide 48: Discussion: sources of error

## Slide 49: Discussion: sources of error
Age of standard
Decay constants
Irradiation product corrections
J value
Measurement uncertainties (blanks and measurements)

## Slide 50: Learning Outcomes
You will have an understanding of:
  K-Ar decay
  The difference between K-Ar and 40Ar/39Ar
  The age equation
  How data are collected
  Sources of error
You will be able to:
  Manipulate the age equation
  Calculate K-Ar ages
  Calculate J values
  Calculate 40Ar/39Ar ages
  Plot 40Ar/39Ar data

## Slide 51: Extra references
http://studylib.net/doc/18050406/ar-ar-geo--thermochronology